{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["Products"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Products","index":0,"n_rows":12,"n_cols":16,"rows_kept":12,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
["PRODUCT NAME","ALB"]
[]
[]
[]
[]
["","","","","ALB02RCMNADBT00","ALB02LCMNADBT00","ALB03LCMNADBT00","ALB03RCMNADBT00","ALB04LCMNADBT00","ALB04RCMNADBT00","ALB05LCMNADBT00","ALB05RCMNADBT00","ALB06LCMNADBT00","ALB06RCMNADBT00","ALB07LCMNADBT00","ALB07RCMNADBT00"]
["Nominalni protok vazduha","Povratni protok vazduha","","m³/s","0.083","0.083","0.167","0.167","0.333","0.333","0.417","0.417","0.694","0.694","0.833","0.833"]
["","Dotok vazduha","","m³/s","0.083","0.083","0.167","0.167","0.333","0.333","0.417","0.417","0.694","0.694","0.833","0.833"]
["Dimenzije","Uređaj","Visina","mm","280","280","350","350","415","415","415","415","500","500","500","500"]
["","","Širina","mm","920","920","1100","1100","1600","1600","1600","1600","2000","2000","2000","2000"]
["","","Dužina sa prigušivačem","mm","1660","1660","1800","1800","2000","2000","2000","2000","2000","2000","2000","2000"]
["Filter za snabdevanje","Primarni filter","Klasa","","F7","F7","F7","F7","F7","F7","F7","F7","F7","F7","F7","F7"]